{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Performer Profile"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Performer Profile","index":0,"n_rows":82,"n_cols":13,"rows_kept":82,"cut":false,"hidden":false,"merged":[[0,10,0,12],[0,4,0,6],[0,7,0,9]]}
["Time (hr)","Energy Availability (MW)","Capacity Factor",null,"Wind Energy Assumptions ",null,null,"Office of Energy Efficiency and Renewable Energy \"Land Based Wind Market Report\" (2023)",null,null,"Solar Assumptions"]
[0,33.1478385033639,0.33335309417368025,null,"Turbine Blade Length",50,"m","Max Operating Speed",12,"m/s","PV Efficiency",0.2]
[4,33.1478385033639,0.33335309417368025,null,"Turbine Height",100,null,"Min Operating Speed",3,"m/s","Panel Area",400000,"m^2"]
[5.0033333333604979,4.0192664164816296,4.0574685496116883E-2,null,"Number of Turbines",15,"m"]
[6.0033333333022902,7.3053057316990468,7.3983090133190682E-2]
[7.0033333334187056,2.815150343244051,2.8474118416903924E-2]
[8.0033333333604979,2.8129408658825339,2.8467573083622955E-2]
[9.0033333333022902,1.1910192769170771,1.2022499217106561E-2]
[10.003333333418706,1.8970757437609118,1.9108294805901104E-2]
[11.003333333360498,8.152470378844157,8.1920214968062441E-2]
[12.00333333330229,17.268390265608495,0.17439830326386813]
[13.003333333418706,23.117672923409113,0.2326392471990327]
[14.003333333360498,26.950636270661562,0.27269519132069159]
[15.00333333330229,31.698533052668694,0.32285636509631627]
[16.003333333418706,33.230989120394064,0.33916528251754002]
[17.003333333360498,29.03452471695951,0.29707330660252917]
[18.00333333330229,21.939685697205253,0.22497519315208717]
[19.003333333418706,16.583152700897003,0.17042251381702778]
[20.003333333360498,11.528187227079201,0.11910470493898231]
[21.00333333330229,21.727258486142766,0.22538217051914114]
[22.003333333418706,7.0476351567309612,7.3198717147783185E-2]
[23.003333333360498,11.609874358723832,0.12075202286403107]
[24.00333333330229,9.1214339682298569,9.4943259307342945E-2]
[25.003333333418706,2.70291771820937,2.8132184547632399E-2]
[26.003333333360498,2.7095021103629628,2.8152791889285482E-2]
[27.00333333330229,2.7147051595649137,2.8169026532677749E-2]
[28.003333333418706,5.3226031991283476,5.5081164836215661E-2]
[29.003333333360498,49.897534524674747,0.51196546635546791]
[29.353333333279007,31.452178497445022,0.32249471363158183]
[30.00333333330229,37.025901549289955,0.37939184511649376]
[31.003333333418706,69.689200191473276,0.70657531149815944]
[32.003333333360501,70.209000516812679,0.70811361970234887]
[33.003333333302294,67.537886582326593,0.67853051472710157]
[34.003333333418709,70.955725785080048,0.71029547668950632]
[34.653333333267369,74.714727776163286,0.7450950100161583]
[35.003333333360501,77.936816355489029,0.77450307579764321]
[36.003333333302294,86.220155145973592,0.8560950600814955]
[36.536666666627866,90.74080284533369,0.89965684670994095]
[36.919999999988363,81.760794063653094,0.80889345159942239]
[37.003333333418709,94.008155546583609,0.9305247586143236]
[38.003333333360501,65.999125767235427,0.6512450415248886]
[39.003333333302294,56.954293660421001,0.56094277933464454]
[40.003333333418709,88.605089912284853,0.87242506589860835]
[41.003333333360501,93.320881568523191,0.91678896270777865]
[42.003333333302294,89.121584604888781,0.87791797703347418]
[43.003333333418709,78.764790062885623,0.77665338498901093]
[44.003333333360501,74.709353753112524,0.73721133445328646]
[45.003333333302294,60.171468512679176,0.59689165673023159]
[46.003333333418709,68.451612807167692,0.68117423931919396]
[47.003333333360501,59.71858181121064,0.59559495626865022]
[48.003333333302294,51.990798581708859,0.51816026057522269]
[49.003333333418709,32.809111183026644,0.32650176503806916]
[50.003333333360501,19.032662407542901,0.18907913053048658]
[51.003333333302294,33.062092957426572,0.32722286800166689]
[52.003333333418709,27.924522296523975,0.27586408466235551]
[53.003333333360501,33.180396698254192,0.32755738737910506]
[54.003333333302294,23.409712574336236,0.23035218642680266]
[54.319999999953438,9.9216134200467891,9.7307301447888114E-2]
[54.886666666720998,15.822778562724066,0.15470806179548507]
[55.003333333418709,7.6790963403201244,7.5053842256469688E-2]
[56.003333333360501,28.426050424841289,0.27726265151049867]
[57.003333333302294,12.771500323030688,0.12415097537401336]
[58.003333333418709,7.7746784387342185,7.531574883760396E-2]
[59.003333333360501,12.104764417498391,0.11705311011668366]
[60.003333333302294,27.317328393071602,0.2640844570635299]
[61.003333333418709,29.737637650934367,0.28697561527124604]
[62.003333333360501,39.84854022115433,0.38462938477318703]
[63.003333333302294,48.781796942662289,0.46987740037769216]
[64.003333333418709,40.773262206893577,0.39195924612728145]
[65.003333333360501,39.833241035427776,0.38278819842666023]
[66.003333333302294,36.492133310450015,0.35055780725840086]
[67.003333333418709,49.913904925334926,0.47990533986288036]
[68.003333333360501,18.43383896467839,0.17780568932094287]
[69.003333333302294,19.777624529590874,0.1911491776135372]
[70.003333333418709,12.839386424544562,0.12433592144412298]
[71.003333333360501,19.576936448872598,0.1906026554543841]
[72.003333333302294,28.49544318537454,0.27745337636259243]
[73.003333333418709,15.916774404653752,0.15496701824202372]
[74.003333333360501,10.05106068822249,9.7664314176363357E-2]
[75.003333333302294,7.7592101762772838,7.5273678674678962E-2]
[76.004000000000005,33.1478385033639,0.33335309417368025]
[80,33.1478385033639,0.33335309417368025]